Course Outline for Fire Extinguisher Safety

- Risk Assessment

- Matching correct fire extinguisher to types of fires

- Proper procedures of using fire extinguishers(PASS)

- Fire extinguisher inspection/maintenance procedures (Monthly/Annually)

- Understanding employers emergency action plan for use of fire extinguishers (When applicable for companies)

- Hands-on skills practice (Bullex simulator when available)